RHMW01R | ERH1440 | RHMW01R-GW-S01-061721 | 2021-06-17 10:10 | 17 Jun 2021 | 10:10 | N | WG |  | 96623 | BA34906 | WG | APPL | 8270DSIM | 2021-06-24 18:00 | N | SW3520C | 96623 | 1 | 91-57-6 | 2-METHYLNAPHTHALENE | < 0.10 | 0.1 | UG_L | 0.04 | 0.10 | 0.2 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1440
| ERH1441 | RHMW02-WQ-T01-061721 | 2021-06-17 11:10 | 17 Jun 2021 | 11:10 | TB | WQ |  | 96623 | BA34908 | WQ | APPL | 8260B | 2021-06-24 00:22 | N | SW5030B | 96623 | 1 | PHCC6C10 | PETROLEUM HYDROCARBONS C6-C10 | < 18.0 | 18 | UG_L | 8.6 | 18.0 | 20 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1441
| ERH1441 | RHMW02-WQ-T01-061721 | 2021-06-17 11:10 | 17 Jun 2021 | 11:10 | TB | WQ |  | 96623 | BA34908 | WQ | APPL | 8260B | 2021-06-24 00:23 | N | SW5030B | 96623 | 1 | 100-41-4 | ETHYLBENZENE | < 0.50 | 0.5 | UG_L | 0.23 | 0.50 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1441
| ERH1441 | RHMW02-WQ-T01-061721 | 2021-06-17 11:10 | 17 Jun 2021 | 11:10 | TB | WQ |  | 96623 | BA34908 | WQ | APPL | 8260B | 2021-06-24 00:23 | N | SW5030B | 96623 | 1 | 108-88-3 | TOLUENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1441
| ERH1441 | RHMW02-WQ-T01-061721 | 2021-06-17 11:10 | 17 Jun 2021 | 11:10 | TB | WQ |  | 96623 | BA34908 | WQ | APPL | 8260B | 2021-06-24 00:23 | N | SW5030B | 96623 | 1 | 1330-20-7 | Xylenes | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 2.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1441
| ERH1441 | RHMW02-WQ-T01-061721 | 2021-06-17 11:10 | 17 Jun 2021 | 11:10 | TB | WQ |  | 96623 | BA34908 | WQ | APPL | 8260B | 2021-06-24 00:23 | N | SW5030B | 96623 | 1 | 71-43-2 | BENZENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1441
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8015B_E | 2021-06-25 22:58 | N | SW3520C | 96623 | 1 | PHCC10C24 | C10-C24 DIESEL RANGE ORGANICS | 2000 | 2000 | UG_L | 150.0 | 300.0 | 320 | YES | Y |  |  | T2M | UG_L |  | 2000 | 2000 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8015B_E | 2021-06-25 22:58 | N | SW3520C | 96623 | 1 | PHCC24C40 | C24-C40 TOTAL PETROLEUM HYDROCARBONS, OIL RANGE ORGANICS | 350 | 350 | UG_L | 150.0 | 300.0 | 320 | YES | Y |  |  |  | UG_L |  | 350 | 350 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8260B | 2021-06-24 00:50 | N | SW5030B | 96623 | 1 | PHCC6C10 | PETROLEUM HYDROCARBONS C6-C10 | 23 | 23 | UG_L | 8.6 | 18.0 | 20 | YES | Y |  |  |  | UG_L |  | 23 | 23 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8260B | 2021-06-24 00:51 | N | SW5030B | 96623 | 1 | 100-41-4 | ETHYLBENZENE | < 0.50 | 0.5 | UG_L | 0.23 | 0.50 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8260B | 2021-06-24 00:51 | N | SW5030B | 96623 | 1 | 108-88-3 | TOLUENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8260B | 2021-06-24 00:51 | N | SW5030B | 96623 | 1 | 1330-20-7 | Xylenes | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 2.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8260B | 2021-06-24 00:51 | N | SW5030B | 96623 | 1 | 71-43-2 | BENZENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8270DSIM | 2021-06-24 18:22 | N | SW3520C | 96623 | 1 | 90-12-0 | 1-METHYLNAPHTHALENE | 19 | 19 | UG_L | 0.04 | 0.10 | 0.2 | YES | Y |  |  |  | UG_L |  | 19 | 19 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8270DSIM | 2021-06-24 18:22 | N | SW3520C | 96623 | 1 | 91-20-3 | NAPHTHALENE | 33 | 33 | UG_L | 0.04 | 0.10 | 0.2 | YES | Y |  |  |  | UG_L |  | 33 | 33 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
RHMW02 | ERH1442 | RHMW02-GW-S01-061721 | 2021-06-17 11:15 | 17 Jun 2021 | 11:15 | N | WG |  | 96623 | BA34909 | WG | APPL | 8270DSIM | 2021-06-24 18:22 | N | SW3520C | 96623 | 1 | 91-57-6 | 2-METHYLNAPHTHALENE | 8.3 | 8.3 | UG_L | 0.04 | 0.10 | 0.2 | YES | Y |  |  |  | UG_L |  | 8.3 | 8.3 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1442
| ERH1443 | RHMW03-WQ-T01-061721 | 2021-06-17 12:20 | 17 Jun 2021 | 12:20 | TB | WQ |  | 96623 | BA34911 | WQ | APPL | 8260B | 2021-06-24 01:18 | N | SW5030B | 96623 | 1 | 100-41-4 | ETHYLBENZENE | < 0.50 | 0.5 | UG_L | 0.23 | 0.50 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1443
| ERH1443 | RHMW03-WQ-T01-061721 | 2021-06-17 12:20 | 17 Jun 2021 | 12:20 | TB | WQ |  | 96623 | BA34911 | WQ | APPL | 8260B | 2021-06-24 01:18 | N | SW5030B | 96623 | 1 | 108-88-3 | TOLUENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1443
| ERH1443 | RHMW03-WQ-T01-061721 | 2021-06-17 12:20 | 17 Jun 2021 | 12:20 | TB | WQ |  | 96623 | BA34911 | WQ | APPL | 8260B | 2021-06-24 01:18 | N | SW5030B | 96623 | 1 | 1330-20-7 | Xylenes | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 2.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1443
| ERH1443 | RHMW03-WQ-T01-061721 | 2021-06-17 12:20 | 17 Jun 2021 | 12:20 | TB | WQ |  | 96623 | BA34911 | WQ | APPL | 8260B | 2021-06-24 01:18 | N | SW5030B | 96623 | 1 | 71-43-2 | BENZENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1443
| ERH1443 | RHMW03-WQ-T01-061721 | 2021-06-17 12:20 | 17 Jun 2021 | 12:20 | TB | WQ |  | 96623 | BA34911 | WQ | APPL | 8260B | 2021-06-24 01:19 | N | SW5030B | 96623 | 1 | PHCC6C10 | PETROLEUM HYDROCARBONS C6-C10 | < 18.0 | 18 | UG_L | 8.6 | 18.0 | 20 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU |  | ERH1443
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8015B_E | 2021-06-25 23:26 | N | SW3520C | 96623 | 1 | PHCC10C24 | C10-C24 DIESEL RANGE ORGANICS | 220 | 220 | UG_L | 150.0 | 300.0 | 320 | YES | Y | J |  | J | UG_L |  | 220 | 220 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8015B_E | 2021-06-25 23:26 | N | SW3520C | 96623 | 1 | PHCC24C40 | C24-C40 TOTAL PETROLEUM HYDROCARBONS, OIL RANGE ORGANICS | 330 | 330 | UG_L | 150.0 | 300.0 | 320 | YES | Y |  |  | T3M | UG_L |  | 330 | 330 | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8260B | 2021-06-24 01:46 | N | SW5030B | 96623 | 1 | 100-41-4 | ETHYLBENZENE | < 0.50 | 0.5 | UG_L | 0.23 | 0.50 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8260B | 2021-06-24 01:46 | N | SW5030B | 96623 | 1 | 108-88-3 | TOLUENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8260B | 2021-06-24 01:46 | N | SW5030B | 96623 | 1 | 1330-20-7 | Xylenes | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 2.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8260B | 2021-06-24 01:46 | N | SW5030B | 96623 | 1 | 71-43-2 | BENZENE | < 0.30 | 0.3 | UG_L | 0.15 | 0.30 | 1.0 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8260B | 2021-06-24 01:47 | N | SW5030B | 96623 | 1 | PHCC6C10 | PETROLEUM HYDROCARBONS C6-C10 | < 18.0 | 18 | UG_L | 8.6 | 18.0 | 20 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8270DSIM | 2021-06-24 18:44 | N | SW3520C | 96623 | 1 | 90-12-0 | 1-METHYLNAPHTHALENE | < 0.10 | 0.1 | UG_L | 0.04 | 0.10 | 0.2 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8270DSIM | 2021-06-24 18:44 | N | SW3520C | 96623 | 1 | 91-20-3 | NAPHTHALENE | < 0.10 | 0.1 | UG_L | 0.04 | 0.10 | 0.2 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444
RHMW03 | ERH1444 | RHMW03-GW-S01-061721 | 2021-06-17 12:25 | 17 Jun 2021 | 12:25 | N | WG |  | 96623 | BA34912 | WG | APPL | 8270DSIM | 2021-06-24 18:44 | N | SW3520C | 96623 | 1 | 91-57-6 | 2-METHYLNAPHTHALENE | < 0.10 | 0.1 | UG_L | 0.04 | 0.10 | 0.2 | YES | N | U |  | U | UG_L |  |  |  | UG_L | TRG |  |  | Y | 2021JU | Bailer | ERH1444

## GW_Notes
Red Hill Bulk Fuel Storage Facility
Notice of Interest 20210507-0852 (6 May 2021 Event)
Notice of Interest 20211120-2330 (20 Nov 2021 Event)
Groundwater Sampling: Notes
DISCLAIMER: Preliminary Data: Undergoing Validation - Subject to Change.
SAMPLE_TYPE_CODE
TB=Trip Blank
N=Normal, Primary Sample
LAB_MATRIX_CODE
WQ=Water Field QC
WG=Groundwater
FRACTION
D=Dissolved or Filtered
T=Total or Undissolved
N=Anything Else
INTERPRETED_QUALIFIER
U=Non-detected
J=Estimated, Bias Indeterminate
J-=Estimated, Low Bias
J+=Estimated, High Bias
VALIDATOR_QUALIFIER
U=Non-detected
J=Estimated, Bias Indeterminate
J-=Estimated, Low Bias
J+=Estimated, High Bias
LAB_QUALIFIERS
U=Not Detected
J=Estimated Value
T2M=Is mainly lower boiling hydrocarbons, e.g. mineral spirits, kerosene, stoddard solvent, white gas
T3M=Is mainly higher boiling hydrocarbons, e.g. asphaltene, waste oil, motor oil, or weathered diesel fuel
T4M=Is mainly dominant peak(s) not indicative of hydrocarbons
RESULT_TYPE_CODE
TRG=Target or Regular Result
DQM_QUALIFIERS
h=Holding times were exceeded.
l=LCS/LCSD %R was not within control limits.
s= Surrogate recovery was not within control limits.
v= Unusual problems found with the data not defined elsewhere. Description of the problem can be found in the validation report.
w=LCS/LCSD RPD was high.