## Historic
CWB Individual NPDES Form - (Historic Effluent Limitations and Monitoring Data)
You are required to provide the information below for all end of pipe and receiving water samples analyzed during the term of your existing NPDES permit. The "Parameter Concentration" is the raw data. The "Calculated DMR Concentration" is the concentration you calculated and reported in your DMRs during the current permit term to assess your compliance with the permit effluent limitations. The "MDL" or the laboratory's method detection limit is the minimum concentration of an analyte that can be detected with 99% confidence. The "ML" or the laboratory's minimum level of quantitation is the concentration in a sample equivalent to the concentration of the lowest calibration standard analyzed in a specific analytical procedure. Be aware that your current NPDES permit requires you to have all of this information available in your own files. If you do not have this information in your own files, you are in violation of your existing NPDES permit. Pursuant to HAR 11-55-17, noncompliance by the Permittee with any condition of the NPDES permit and failure to disclose fully or misrepresenting any relevant facts is grounds for denial of the renewal NPDES application.
Example:
Date Sample Taken | Permit Outfall Serial Number or Receiving Water Sampling Station or Special Study Sampling Location | Parameter | Parameter Concentration (Raw Data) | MDL | ML | Units | NPDES Permit Effluent Limitations and Calculated DMR Concentrations in Current Permit Term
[7 empty] | Monthly Average |  | Weekly Average |  | Daily Maximum |  | <Enter> |  | <Enter>
[7 empty] | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration
2014-08-28 | 001 | Oil and Grease | 8 | 1.4 | 5 | mg/L | -- | -- | -- | -- | 20 | 8 | -- | -- | -- | --
2014-08-29 | 001 | Oil and Grease | 10 | 1.4 | 5 | mg/L | -- | -- | 18 | 12 | 20 | 10 | -- | -- | -- | --
2014-08-30 | 001 | Oil and Grease | 5 | 1.4 | 5 | mg/L | -- | -- | -- | -- | 20 | 5 | -- | -- | -- | --
2014-08-31 | 001 | Oil and Grease | 20 | 1.4 | 5 | mg/L | 15 | 10 | -- | -- | 20 | 20 | -- | -- | -- | --
Date Sample Taken | Permit Outfall Serial Number or Receiving Water Sampling Station or Special Study Sampling Location | Parameter | Parameter Concentration (Raw Data) | MDL | ML | Units | NPDES Permit Effluent Limitations and Max DMR Value in Current Permit Term
[7 empty] | Monthly Average |  | Weekly Average |  | Daily Maximum |  | <Enter> |  | <Enter>
[7 empty] | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration | Permit Limit | Calculated DMR Concentration