## General_Info
GENERAL INFORMATION
Last updated: August 23, 2023
Facility Name:
Facility Permit #:
Unit #:
Year:
Direct Responsible Charge (DRC):
DRC Grade:
DRC Phone:
DRC Email:
Property Owner/Agent Name:
Property Owner/Agent Email:
Property Owner/Agent Phone:
Property Owner/Agent Mailing Address:
Property Owner/Agent Company Name:
Guide on Usage, Units and Exceptions
- Monthly records of Effluent BOD5 and TSS with copy of results from an independent laboratory in mg/L (municipal treatment plants do not need to use an independent laboratory for effluent testing). NOTE: If the average daily flow is greater than or equal to 100,000 GPD then weekly composite sampling of effluent is needed. However, if the average daily flow is greater than or equal to 100,000 GPD and the WWTW is a pond system than weekly grab sampling of effluent is needed. - Weekly Records of pH, Dissolved Oxygen (DO) in mg/L, and 30-min Settleability in mL/L (only for extended aeration, and SBR). MBBR only require DO and pH. - Weekly Records of Total Daily Flow in Gallons Per Day (GPD).

## January
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | January
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## February
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | February
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## March
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | March
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## April
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | April
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## May
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | May
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## June
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | June
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## July
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | July
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## August
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | August
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## September
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | September
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## October
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | October
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## November
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | November
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## December
Facility Permit #/Name: |  |  | / |  |  |  | Unit #: | Month & Year: | December
Day | Record Monthly* |  | Record Weekly |  |  |  |  | Comments
| BOD (mg/L) | TSS (mg/L) | pH† | DO (mg/L)† | 30-min Settle (mL/L)† | [Opt.] Totalizer reading (gal) | Total Daily Flow (gal/day)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
*Note: If flow > 100,000 GPD then weekly composite sampling of effluent is needed instead (or weekly grab sampling if a pond system).
†Please see General_Info sheet for exceptions.

## Calculations for HAR Ch 11-62
DO NOT TYPE ON THIS SHEET
Summary of BOD and TSS |  |  | Summary of MIN, MAX, AVG
Sample Month | BOD | TSS | Sample Month | min pH | max pH | min DO | max DO | min 30-min Settle | max 30-min Settle | Monthly Avg of Total Daily Flow
January |  |  | January
February |  |  | February
March |  |  | March
April |  |  | April
May |  |  | May
June |  |  | June
July |  |  | July
August |  |  | August
September |  |  | September
October |  |  | October
November |  |  | November
December |  |  | December
|  |  | MIN | 0 |  | 0 |  | 0 |  | 0
|  |  | MAX |  | 0 |  | 0 |  | 0 | 0
[9 empty] | AVG | #DIV/0!